## orthopedics
orthopedic
Equipment Inventory Report
District:Surat Name of Hospital: New civil Hospital,surat Name of Superintedant: Dr. M.K. Vadel Contact:
Sr. No (1) | Name of Department (2) | Name of Equipment(3) | Model of Equipment (4) | Sr. No. oF Equipment(5) | supplier/ Manufacturer (Name/address) (6) | Purchase/AT order No & Date/Direct purchase/Donation etc (7) | Date of Installation(8) | Date of expiry of Warranty(9) | Location of Equipment (10) | If Warranty has expired,Is the Equipment under any maintenance contract (CMC/AMC/NO) (11) | If Yes,then mentioned Duration of maintenance contract (12) | warrenty/CMC/AMC services had been given by service provider(yes/no) (13) | Current status of Equipment (working/Need Repair/ Need Condemn) (14) | price/cost (15) | Equipment Hospital Identification no(Desk Stok regi num) | Remarks (If any) (15)
1 | Orthopedic | C-ARM with IITV |  | M10078855 | Siemens | Donation | 2014-10-10 |  | Ortho OT | Under Warranty 3 YR | Under Warranty 3 yr | YES | w
2 | Orthopedic | C-ARM with IITV | HF49/R100F/19 | ZK15060356-BC | Allengers | From Amreli | 2015-03-31 |  | Ortho OT | Under Warranty 3 YR | Under Warranty 3 yr | YES | Working
3 | Orthopedic | C-ARM with IITV | HF49/RM/s | c/2k1105313-c | Allengers |  | 2013-12-30 |  | Ortho OT |  | 2015-05-27 | YES | Not working
4 | Orthopedic | Spine Endoscope set | E-2010301162 |  | Carl storz | Inst/F-233/2010-11 /10728-34 | 2012-08-24 | expired | OOT | No |  |  | working |  |  | AMC/CMC required
5 | Orthopedic | OT table |  |  | Surgitech | Local Purchase |  |  | Ortho OT | NO |  |  | Working
6 | Orthopedic | OT table |  |  | surgident | Local Purchase |  |  | Ortho OT | NO |  |  | Working
7 | Orthopedic | Suction machine |  |  | Surgitech |  |  |  | Ortho OT | NO |  |  | Working
8 | Orthopedic | Tourniquet |  |  | Diamond |  |  |  | Ortho OT | Under Warranty 3 YR | Under Warranty 1 yr | YES | Working
9 | Orthopedic | Cautery | ICC200 |  | ERBE(5) |  |  |  | Ortho OT |  | 19/10/2015 to 18/04/2016 | YES | Working
10 | Orthopedic | Cautery |  |  | Caudra |  |  |  | Ortho OT |  | 1-10-2015 to 30-9-2016 | YES | Working
11 | Orthopedic | Cautery | H.M.300 |  | Inmed
12 | Orthopedic | Cautery |  |  | Alan |  |  |  | Ortho OT |  | 19/10/2015 to 18/04/2016 | YES | Working
13 | Orthopedic | Electrill motor drill |  |  | Manman |  |  |  | Ortho OT | No |  | YES | Working
14 | Orthopedic | Pulse oximeter |  |  | Emco |  |  |  | Ortho OT | No |  |  | Working
15 | Orthopedic | X ray machine | 5510 | 32167 | Siemens |  | 2014-04-07 |  | Ortho OT | No |  |  | Not Working
16 | Orthopedic | Nervelocator | [6 empty] | Ortho OT | No |  |  | Working
17 | Orthopedic | Arthroscope | Smith and Nephew |  |  | Local Purchase | 2014-03-14 |  | Ortho OT | Under Warranty 3 YR | Under Warranty 1 yr | YES | Working
18 | Orthopedic | Bone scalpel | Mis0nix | 3112-15-01 | Misonix |  | 2015-05-29 |  | Ortho OT | Under Warranty 3 YR | Under Warranty 1 yr | YES | Working

## Sheet3
Gujarat Medical Services Corporation Limited, Gandhinagar
Equipment Inventory Report
District:Surat Name of Hospital: New civil Hospital,surat Name of Superintedant: Dr. M.K. Vadel Contact:
Sr. No (1) | Name of Department (2) | Name of Equipment(3) | Model of Equipment (4) | Sr. No. oF Equipment(5) | supplier/ Manufacturer (Name/address) (6) | Purchase/AT order No & Date/Direct purchase/Donation etc (7) | Date of Installation(8) | Date of expiry of Warranty(9) | Location of Equipment (10) | If Warranty has expired,Is the Equipment under any maintenance contract (CMC/AMC/NO) (11) | If Yes,then mentioned Duration of maintenance contract (12) | warrenty/CMC/AMC services had been given by service provider(yes/no) (13) | Current status of Equipment (working/Need Repair/ Need Condemn) (14) | Remarks (If any) (15)
| Peadiatric | CPAP |  |  | Fisher paykel
|  | CPAP |  |  | Fisher paykel
|  | CPAP |  |  | Fisher paykel
|  | CPAP |  |  | Fisher paykel
|  | CPAP |  |  | Fisher paykel
|  | CPAP |  |  | Fisher paykel
|  | CPAP |  |  | Fisher paykel
|  | CPAP |  |  | Fisher paykel
|  | CPAP |  |  | Fisher paykel
|  | Versa ventilator |  |  | GE
|  | ventilator |  |  | drager
|  | ventilator |  |  | drager
|  | ventilator |  |  | drager
|  | ventilator new |  |  | drager
No 4
|  | ventilator |  |  | drager
No 1
|  | ventilator |  |  | drager
No 2
|  | ventilator |  |  | drager
|  | ventilator |  |  | drager
No 5
|  | ventilator |  |  | drager
No 6 dharampur
|  | ventilator |  |  | SLE
|  | ventilator |  |  | SLE
|  | ventilator |  |  | drager
No 8
|  | ventilator |  |  | Sophie
|  | Radiant warmer |  |  | Raj medical
|  | Radiant warmer |  |  | meditrin
|  | Phototherapy unit |  |  | LED
|  | Phototherapy unit |  |  | Bird
|  | Phototherapy unit |  |  | Meditrin
|  | Phototherapy unit |  |  | Shreyash
|  | Phototherapy unit |  |  | D.S.P.T
|  | Multipara monitor |  |  | Philips
|  | Pulse oximeter |  |  | Emco
|  | Syringe pump |  |  | Aspire
|  | Neo puff |  |  | Fisher paykel
Portable warmer
Bilirubin meter
|  | ECG machine |  |  | BPL
|  | Ventilator |  |  | Drager
No 7 Ahwa
|  | Ventilator |  |  | GE versamed
17756
|  | Multipara monitor |  |  | drager

## Sheet1
Forensic Department
Equipment Inventory Report
District:Surat Name of Hospital: New civil Hospital,surat Name of Dean: Dr. J.M.Brahmbhatt Contact:
Sr. No (1) | Name of Department (2) | Name of Equipment(3) | Model of Equipment (4) | Sr. No. oF Equipment(5) | supplier/ Manufacturer (Name/address) (6) | Purchase/AT order No & Date/Direct purchase/Donation etc (7) | Date of Installation(8) | Date of expiry of Warranty(9) | Location of Equipment (10) | If Warranty has expired,Is the Equipment under any maintenance contract (CMC/AMC/NO) (11) | If Yes,then mentioned Duration of maintenance contract (12) | warrenty/CMC/AMC services had been given by service provider(yes/no) (13) | Current status of Equipment (working/Need Repair/ Need Condemn) (14) | price/cost (15) | Equipment Hospital Identification no(Desk Stok regi num) | Remarks (If any) (15)
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18

## Sheet2
Pharmacology Department
Equipment Inventory Report
District:Surat Name of Hospital: New civil Hospital,surat Name of Dean: Dr. J.M.Brahmbhatt
Sr. No (1) | Name of Department (2) | Name of Equipment(3) | Model of Equipment (4) | Sr. No. oF Equipment(5) | supplier/ Manufacturer (Name/address) (6) | Purchase order No & Date of GMSCL/Direct purchase/Donation etc (7) | Date of Installation(8) | Date of expiry of Warranty(9) | Location of Equipment (10) | If Warranty has expired,Is the Equipment under any maintenance contract (CMC/AMC/NO) (11) | If Yes,then mentioned Duration of maintenance contract (12) | warrenty/CMC/AMC services had been given by service provider(yes/no) (13) | Current status of Equipment (working/Need Repair/ Need Condemn) (14) | price/cost (15) | Equipment Hospital Identification no(Desk Stok regi num) | Remarks (If any) (15)
1 | Pharmacology | Polygraph two channel |  |  | M/s Medical systems Chandigrah | GMCS/Store/1524-26/15 Date:-20/01/15 | 24/02/2015 | [5 empty] | Working | 139361/- | page 18
2 | Pharmacology | Hot plate analgesiometer | model-39DF Forlentancy IITC |  | M/s Tansura Enterprise Ahmedabad | B/E no.5524/98 Date:-28/08/98 | 28/08/1998 | [5 empty] | Working | 235065/- | page 16
3 | Pharmacology | Pressure analgesiometer | Stoelting USA-886 |  | M/s Tansura Enterprise Ahmedabad | B/E no.5303/98 date:-19/08/98 | 19/08/1998 | [5 empty] | Working | 221707/- | page 13
4 | Pharmacology | Rota rod assembly | Model-519ESC | MRA-060 | [8 empty] | Working | 94000/-
5 | Pharmacology | Animal Activity monitor | IITC USA1051 |  | M/s Tansura Enterprise Ahmedabad | B/E no.5524/98 date:28/08/98 | 28/08/1998 |  | Experimental lab |  |  |  | Working | 206450/- | page 14
6 | Pharmacology | Automatic cardiac output |  |  | M/s Medi. Chem. Techno Ahmedabad | CMSO/F1697-98/45766-72 date:-29/03/98 | 19/08/1998 | [5 empty] | Working | 2049436/- | page 10
7 | Pharmacology | Volume differential meter | Stoelting cat no.5714V |  | M/s Tansura Enterprise Ahmedabad | B/E no.5303/98 date:-19/08/98 | 19/08/1998 | [5 empty] | Working | 286786/- | page 12
8 | Pharmacology | Microscope controlled syring pump |  |  | M/s Tansura Enterprise Ahmedabad | B/E no.5524/98 Date:-28/08/98 | 15/12/1998 | [5 empty] | Working | 561929/- | page 17
9 | Pharmacology | Weighing scale | NJW-D-220 |  | M/s ACS Enterprize | GMCS/store/751-53/15 date:-12/01/15 | 27/02/2015 | [5 empty] | Working | 19800/- | page 20
10 | Pharmacology | Polygraph system, Gibson with primplifiers, coupler, sensors7,transducers with two channel recorder
11 | Pharmacology | UV-VIS Spectrophotometer
12 | Pharmacology | Square wave electronic stimulator
13 | Pharmacology | Weighing balance Dhona
14 | Pharmacology | Cautery machine
15 | Pharmacology | Tele-thermometer with probes
16 | Pharmacology | Over head projector
17 | Pharmacology | Slide projector & Epidiascope
18 | Pharmacology | Rotary compression pump
19 | Pharmacology | Automatic slow injection appratus
20 | Pharmacology | pH meter with suitable electrode
21 | Pharmacology | Automatic drop recorder palmer
22 | Pharmacology | Jacquet's perfusion pump
23 | Pharmacology | Chromatography chambers
24 | Pharmacology | Oven
25 | Pharmacology | Densitometer
26 | Pharmacology | Thermostatic organ bath
27 | Pharmacology | Langendorf perfusion assembly
28 | Pharmacology | Stereotaxic instrument assembly with table
29 | Pharmacology | Starling's extension kymograph with accessories
30 | Pharmacology | Multiple speed recording drum
31 | Pharmacology | centrifuge machine
32 | Pharmacology | Electrophoresis apparatus
33 | Pharmacology | flame photometer
34 | Pharmacology | Students microscope
35 | Pharmacology | Research microscope with cc t.v & microphotography attachement
36 | Pharmacology | Active & Passive avoidance response shuttle box
37 | Pharmacology | Water De-ionisers
38 | Pharmacology | Electrical incubator
39 | Pharmacology | Lyophilizer with accessories
40 | Pharmacology | Micrifuge Micro centrifuge
41 | Pharmacology | U V Transilluminator with photographic attachment with camera
42 | Pharmacology | Langendorf heart perfusion assembly
43 | Pharmacology | HRV instrument
44 | Pharmacology | Organ bath
45 | Pharmacology | Rotating drum